## Slide 1: SDB Predicting Energy Usage at 88acres
Mike Wise

## Slide 2: SDB Business Goals
Energy Usage Prediction
  Planning and Hedging Energy Purchasing Strategies
  Predicting and Mitigating Peak Energy usage to reduce Demand Charges
Predictive Maintenance
  Recalibrating fault importance
  Measuring impact of equipment performance on Energy and Indoor Climate
  Predicting equipment outages
  Locating underperforming building regions

## Slide 3: Project Resources
1 TB of data – HVAC, Energy Usage, and some temperature data
Azure Account
  SQL VM
  Hadoop cluster
  AML Workspace
1 full-time MCS DS Resource
1 part-time (1.5 d/w) AML PG DS Resource

## Slide 4: SDB – The Data Science
CRISP-DM – best developed DS methodology
  Little competition
6 Phases
  Business Understanding
  Data Understanding
  Data Preparation
  Data Modelling
  Evaluation
  Deployment

## Slide 5: Time Line
4-5 months on project so far
Main project directory has 6000+files in 62 folders

## Slide 6: SDB Business Understanding
Actual Business Benefits articulated
Revisited at least twice during project
Initial focus was Pred.Maint. oriented, shifted to an Energy Focus
  Energy Consumption underlies and prioritizes most other costs
  Energy requires less data to understand (3-4 data streams per building)
Desire for quick-wins shifted focus again, to creation of a “demo”

## Slide 7: SDB Data Understanding - Overview
Acquisition of data took time
Used R and Excel (in places)
Delivered 1.5 TB of data in 9 SQL DBs
Approximately 500k data streams in around 100 Puget Sound buildings
Data range was from 1 Jan 2013 to 31 Dec 2014
All streams were missing data, up to 3 month gaps existed, most streams have between 50 and 80 percent coverage
Weather Data from Weather Underground, took 4 weather stations in the Bellevue/Redmond/Kirkland area with continuous data back to 2009
Weather Data Gaps moved in the 1-2 percent range

## Slide 8: SDB - Data Understanding - Architecture

## Slide 9: SDB - Data Understanding - Results

## Slide 10: SDB – Data Preperation - Overview

## Slide 11: SDB Modeling - Overview
  Considered different architectures
  Went with Standard R and AML in the end
  Many choices available today
    Classic regression and optimization
    Ensemble methods (Boosted Trees, Random Forests, etc.)
    Other ML methods (NN, DNN, SVM, etc.)
    Time Series forecasting (ARIMA)

## Slide 12: SDB – Modeling - Architecture

## Slide 13: SDB – Modeling - Results

## Slide 14: SDB Evaluation - Overview